Address: 16 Honister Road Manchester M9 4LN

|  |  |  |
| --- | --- | --- |
| **Element** | **Facts and Findings** | **Entered By** |
| **Lead Provider** |  |  |
| **Scheme** |  |  |
| **Customer Services Team** | | |
| **Survey App.** |  |  |
| **Conditions Check** |  |  |
| **Special Consideration** |  |  |
| **Authorisation** |  |  |
| **Others** |  |  |
| **Survey Team** | | |
| **Discrepancies in EPC & Evidence** |  |  |
| **Tenure** |  |  |
| **Additional Notes** |  |  |
| **EPR Team** | | |
| **EPC Check** | Available EPC is for Domestic Only, commercial checked and not found. | Usama |
| **EPC Findings** | Area 79, EPC expiry 2025, Mid terrace, Cavity as built NI,  Pitched, 75mm loft insulation, HC: Programmer, TRV’S, thermostat | Usama |
| **Missing Elements** | None | Usama |
| **Discrepancies and Remedials** | According EPC loft 300mm insulation, we kept 200mm insulation in EPR | Usama |
| **Documents** | Verified and missing are communicated to CS team to chase | Usama |
| **GasSafe Record Check** | NA | Usama |
| **Other Checks** | Google earth, street view all checked | Usama |
| **Verdict** | Project Good to go in GBIS of following reasons:   1. Pre-Rating issue, D-62 | Usama |
| **Special Consideration** | None | Usama |
| **Authorisation** | Validation completed on EPR level, I authorise project to go towards Installation. | Usama |
| **Others** | none | Usama |
| **COMPLIANCE TEAM** | | |
| **Special Consideration** |  |  |
| **Authorisation** |  |  |
| **Others** |  |  |
| **SUBMISSION TEAM** | | |
| **Special Consideration** |  |  |
| **Authorisation** |  |  |
| **Others** |  |  |
| **MANCHESTER TEAM** | | |
| **Special Consideration** |  |  |
| **Authorisation** |  |  |
| **Others** |  |  |